## List1
Rest of Plant scope - list of orders remaining to be placed as of 05/01/2011
Proc. Spec No. | Item Title | Short description
E01 | Fire Detection & Protection Systems | Fire fighting system
G20 | Miscellaneous Handling Devices | Hoists/dvigala
H20 | Gas Storage Plant (N2, H2, CO2, etc) | Gas Storage Plant
K25 | Thermal Insulation | Material to protect equipment against heat
K30 | Paints | Paints
K35 | Lubricants (GT, ST, Other Systems) | Oil and grease
K40 | Chemicals | Chemical products
K80 | Labels for Equipment and Instrumentation | Stainless labels to identify equipment
L15 | Metallic Expansion Joints | Expansion Joints (depending on stress or heat)
L20 | Miscellaneous Pipe Support, Hangers, etc | Supports for piping
L21 | Spring Hangers | Metallic Springs
L30 | Fasteners and gaskets for Piping Specifications | Accessoiries for piping (bolts, gaskets, …)
L51 | Standard Fibre Reinforced & Plastic Piping | Plastic piping
N10 | Transmitters/ Instruments | Instrumentation ( to convert electrical signal to numerical signal)
N15 | Pressure gauges and thermometers | Pressure gauges and thermometers
N30 | Temperature elements | Temperature Sensors
N35 | Measurement nozzles and orifice plates | Measurement nozzles and orifice plates
N40 | Flow switches and indicators | Flow switches and indicators
N65 | General Installation Material for I&C | Accessories for instrumentation
N81 | Control Room Desks and Panels | Furniture for Distributive Control System
P23 | LV Aux. Distribution Transformers | Auxiliary low voltage transformers
P24 | LV Switchgear, Distribution & MCC | Low Voltage Switgear, Distribution
P24
P25 | Stand-by Diesel Generator Set | To start to power plant in case of emergency
P40 | Batteries & Charger | Batteries & Charger
P41 | DC Switchboards | Distributive control Switchboard
P42 | Uninterruptible Power Supply | Uninterruptible Power Supply
P43 | UPS Distribution Board | Distribution Board for Uninterruptible Power Supply
Q13 | LV Cables | Cables Low Voltage
Q14 | Control Cables & Junction Boxes | Control Cables & Junction Boxes
Q20 | Cable Support Steelwork (Trays and Accessories) | Cable trays and accessories
Q30 | Cabling Accessories | Cabling Accessories
Q 32 | Marshalling Boxes | Marshalling Boxes
List of Orders to be placed
*Electrical Systems-Instrument Cabling, Junction Boxes
*Instrument Installation Material
*Instrument Piping
Booster Pump
BOP Ancillary Systems - Piping/Flex Hoses - Water
Catalyst
Electrical Systems-Aviation Obstacle Light
Electrical Systems-Frequency Converters
Erection Refractory PC
Facade Climbing Equipment
Flame Scanners and Guide Pipes
Heating
Heating Surface Cleaning System Piping Valves
Hoists
I&C Systems-CO/CO2/NOX/SOX/Opacity/Methane Analyzers
I&C Systems-Furnace CCTV System
Instruments
Insulation EPC
Metal Temperature Thermocouple Multiplexer
Natural Ventilation
Primary Crusher
Raw Material(Venting;Drain;SH SrayWater;RH SprayWater;SprayWater Upstream Station and Bypass)
Refractory EPC
Sealing and Purging Air Fan
Secondary Ancillary Systems (Water Steam Cycle) Piping
Supports for Soot Blowers for Heating Surfaces
Supports for Soot Blowers for SCR
Valves (Cooling/Service Water/Air)
* Bundling with Electrical Installation